## Overview
Please read this page.
OVERVIEW
Thank you, district, charter school, and campus leaders, for your commitment to ensuring the safety and well-being of students and staff. The Texas Education Agency (TEA) coordinated with the Texas School Safety Center (TxSSC), representatives from the regional service centers (ESCs), and school system personnel to develop this tool. This Exterior Door Audit Tracker is designed to assist school systems with identifying and tracking door components that are integral to school safety. Specifically, the tool is designed to be used by those performing a campus site inspection to determine that for each door is currently functioning as intended and not in need of maintenance. School systems can use the information gleaned from this tool to begin repairs on any non-operational components.
School systems must review all exterior doors of all instructional facilities for compliance with the specifications listed in the Door Components tab of this worksheet before the start of the 2022-23 school year. LEAs do not need to use the remainder of this tool to perform the review; the Input Sheets and other tabs are provided as a resource to help school systems track both the maintenance issues and hardware upgrade issues identified during the review.
Conducting an exterior door safety audit (using this tool or otherwise) is not intended to replace the comprehensive school safety audit checklist published by TxSSC. Instead, school systems will use this tool during summer 2022 as a component of a partial audit to inform immediate maintenance or capital improvement needs related to exterior doors. School systems can then begin making necessary repairs or hardware upgrades immediately.
Please note: Districts and charter schools (school systems) will certify the information from the External Door Audit Tracker in September 2022 with the Texas School Safety Center (TxSSC) in the manner determined by TxSSC. Under TEC, Secs. 37.108 and 37.109, the results of this audit shall be reviewed at a subsequent School Safety and Security Committee meeting, and can be done in executive session.
ADDITIONAL INFORMATION
As a component of a school's safety and security audit, information collected under this tool (or similar tools used for the purposes of an exterior door safety audit) is not subject to disclosure under Ch. 552, Government Code, pursuant to TEC, Sections 37.108, 37.2071, and other relevant statutory provisions. This disclosure exemption continues to apply as this information is shared with TEA and TxSSC. Additional tools to support school systems in their safety and security audits can be found here:
School Safety and Security Audit Toolkit ¦ Texas School Safety Center (txstate.edu)
For additional information about the TEA Safe and Supportive Schools Program visit:
Safe and Supportive School Program ¦ Texas Education Agency

## Door Components (PRINTABLE)
EXTERIOR DOOR COMPONENTS
This page is intended to help school districts understand and identify the minimum door standard components and requirements for standard hinge door types. The images used are examples only and are not to be considered the only option or type of that specific component. The following components should be checked to see if operable on all exterior building hinge door types.
Component | Image | Description | Review Process
Sturdy Mullion (Double Doors Only) |  | If part of a set of double doors, a sturdy center mullion. | With both doors open, push and pull the mullion. The mullion should be sturdy and not move.
Reinforced Door Frames |  | Constructed of solid material (typically metal) that can’t be easily breached. | Confirm that the frame is made of a solid material.
Auto Door Closer |  | A mechanism that fully closes automatically after entry or egress without manual intervention, regardless of air pressure within or outside of the facility. | To ensure this mechanism properly works, the school's air conditioning unit should be on to create positive outflow of air pressure. Then open the door fully, then door should automatically shut completely, and latch.
Auto Door Lock |  | A mechanism that fully engages locking hardware automatically after entry or egress without manual intervention. | Open the door, after the door closes, it should be both latched and locked from the outside. Someone on the outside must confirm that the door is locked externally.
Emergency Open Mechanism |  | A mechanism that allows the door to be opened from the inside when locked, without a key, and the door remains locked. | With the door locked, the door should be able to be opened from the inside. After it is opened from the inside, it should remain locked from the outside after closing.
All Non-Hinge Doors |  | Any door that is not a hinge door should be verified that it can close and lock. | Physically comfirm that the door can close and lock. This information will not be collected on the Door Input Sheet.

## Sample Access Point ID Map
FACILITY INFORMATION
Facility Name & #: | TEXAS INTERMEDIATE SCHOOL (3)
# of Buildings | 1
Campus Number: 4
Building Number: 1

## Access Point ID Map
FACILITY INFORMATION
Facility Name & #:
# of Buildings:
Upload your campus access point ID map here

## Door Input Sheet
Exterior Door Safety Audit Tracker
This tool is designed to help educational leaders perform an exterior door audit to identify security risks to their campus. Individuals performing the exterior door should assess whether or not each of the door safety components are:
Operational (O) | Put an O in the cell if the component works as intended.
Non-Operational (NO) | Put an NO in the cell if the component does not work as intended.
Not Present (NP) | Put an NP in the cell if this component is not present.
Not Applicable (NA) | Only put NA for Sturdy Mullion on all single doors
Note: Your campus identidfier, building number, and door number convention may differ from the example below.
Campus | Building | Door Number | Sturdy Mullion (Double Doors Only - Put NA for all other doors) | Reinforced Door Frames | Auto Door Closer | Auto Door Lock | Emergency Open Mechanism
Example01 | E1 | 1.1 | O | O | O | O | O
Example01 | E1 | 1.2 | NA | O | NO | O | NP

## Doors Input Sheet (PRINTABLE)
Exterior Door Safety Audit Tracker
This tool is designed to help educational leaders perform an exterior door audit to identify security risks to their campus. Individuals performing the exterior door should assess whether or not each of the door safety components are:
Operational (O) | The component works as intended.
Non-Operational (NO) | The component does not work as intended.
Not Present (NP) | This component is not present.
Not Applicable (NA) | Only put NA for Sturdy Mullion on all single doors
Campus | Building | Door Number | Sturdy Mullion (Double Doors Only) | Reinforced Door Frames | Auto Door Closer | Auto Door Lock | Emergency Open Mechanism

## Campus Data
Campus Overview Data
|  | Sturdy Mullion (Double Doors Only) | Reinforced Door Frames | Auto Door Closer | Auto Door Lock | Emergency Open Mechanism
| Operational | 1 | 2 | 1 | 2 | 1
| Non-Operational | 0 | 0 | 1 | 0 | 0
| Not Present | 0 | 0 | 0 | 0 | 1
Overview: The data on this page is automatically calculated for the campus overview data above and the district upload data row below. The data in the section below is created to be easily uploaded into the District-Level Exterior Door Summer Audit Tracker. Copying Instructions: 1. Only copy row 12, from column B to Q below as indicated by the light yellow shading. 2. Paste the values only into the accompanying District Level Exterior Door Audit Tracker on the Campus Data Input sheet.
Click here to download the District Level Exterior Door Summer Audit Tracker
| Campus | DISTRICT UPLOAD DATA (This data should be uploaded the district spreadsheet for total district counts)
|  | Sturdy Mullion (Double Doors Only) |  |  | Reinforced Door Frames |  |  | Auto Door Closer |  |  | Auto Door Lock |  |  | Emergency Open Mechanism
|  | Operational | Non-Operational | Not Present | Operational | Non-Operational | Not Present | Operational | Non-Operational | Not Present | Operational | Non-Operational | Not Present | Operational | Non-Operational | Not Present
| Helper row - DO NOT DELETE | O | NO | NP | O | NO | NP | O | NO | NP | O | NO | NP | O | NO | NP
Only copy this row --> | Example01 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 1 | 0 | 1